## Sheet1
Section | Internal Section | Inspection/ Service | Description | Frequency | Quantity | Last Date | Next Date | PIC | In-house/ Outsource | Completion Progress (Recurring/ One time/ Continous) | Status (Completed, Pending) | Completed qty | Pending qty | Completed percentage | Remarks
Facility | Electrical | Service | Electrical Panel Board | Annually | 414 | N/A | N/A | Mahesh | In-house | Recurring | Pending | 345 | 69 | 83.33%
Facility | Electrical | Inspection | Weighbridge maintenance | Monthly | 3 | 2026-10-14 | 2026-11-14 | Mahesh | Outsource | Recurring | Completed | 3 | 0 | 100%
Facility | Electrical | Service | Weighbridge government stamping | Annually | 3 | 2026-09-08 | 2027-09-08 | Mahesh | Outsource | Recurring | Completed | 3 | 0 | 100%
Facility | Electrical | Inspection | Elevator & Dumb waiter maintenance | Monthly | 3 | 2026-10-01 | 2026-11-01 | Mahesh | Outsource | Recurring | Completed | 3 | 0 | 100%
Facility | Electrical | Service | Elevator & Dumb waiter maintenance | Monthly | 3 | 2026-10-01 | 2026-11-01 | Mahesh | Outsource | Recurring | Completed | 3 | 0 | 100%
Facility | Electrical | Inspection | Over-head crane | Monthly | 2 | 2026-09-27 | 2026-10-27 | Mahesh | Outsource | Recurring | Completed | 2 | 0 | 100%
Facility | Electrical | Service | Over-head crane | Bi-annually | 2 | 2026-09-30 | 2027-03-31 | Mahesh | Outsource | Recurring | Completed | 2 | 0 | 100%
Facility | Electrical | Service | EV charging piles | Tri-annually | 14 | N/A | N/A | Mahesh | In-house | Recurring | Completed | 14 | 0 | 100%
Facility | Electrical | Service | Human body electrostatic discharge ball touch releaser device | Bi-annually | 9 | N/A | N/A | Mahesh | In-house | Recurring | Completed | 9 | 0 | 100%
Facility | Electrical | Inspection | Substations | Daily | 3 | N/A | N/A | Mahesh | In-house | Recurring | Completed
Facility | Electrical | Service | Deisel generators | Annually | 3 | 2025-08-12 | 2026-08-12 | Mahesh | In-house | Recurring | Completed | 3 | 0 | 100%
Facility | Electrical | Service | Substations | Onece in two years | 3 | 2025-05-03 | 2027-05-03 | Mahesh | Outsource | Recurring | Completed | 3 | 0 | 100%
Facility | Electrical | Service | Converter stations | Annually | 4 | 2024-07-20 | 2025-07-20 | Mahesh | In-house | Continous | Pending | 4 | 4 | 0% | Not released required areas for maintenances and services from OPS
Facility | Electrical | Service | Compact substations | Annually | 2 | 2026-06-24 | 2027-06-24 | Mahesh | Outsource
Facility | Electrical | Service | Earth resistence testing- entire terminal | Annually | 1 | 2026-01-20 | 2027-01-20 | Mahesh | Outsource |  |  | 1 | 0
Facility | Electrical | Service | Earth resistence testing- DG yard & fuel station | Bi-annually | 1 | 2026-06-16 | 2026-12-15 | Mahesh | Outsource | Recurring |  | 1 | 0
Facility | Electrical | Service | Substations generators & fire engine emission test | Annually | 4 | 2026-10-21 | 2027-10-21 | Mahesh | Outsource | Recurring |  | 4 | 0 | 100%
Facility | Electrical | Service | Lux level testing | Annually |  | N/A | N/A | Mahesh | In-house | Recurring | Completed |  |  |  | Completed in all terminal buildings
Facility | Mechanical | Inspection | Building HVAC / air conditioning | Daily | 414 |  |  |  | In-house
Facility | Mechanical | Service | Building HVAC / air conditioning | Multiple frequencies — refer to source ledger | 414 |  |  |  | In-house
Facility | Mechanical | Inspection | Checking external water supply distribution network | Annually |  |  |  |  | In-house
Facility | Mechanical | Inspection | Checking of STP functions and chemicals | Weekly |  |  |  |  | In-house
Facility | Mechanical | Inspection | Checking of cold rooms | Daily |  |  |  |  | In-house
Facility | Mechanical | Service | Cleaning of water tanks | Once in 2 years |  |  |  |  | Outsource
Facility | Mechanical | Service | Cold room refrigeration preventive service | Tri-annually |  |  |  |  | In-house
Facility | Mechanical | Inspection | Cold room temperature monitoring | Daily |  |  |  |  | In-house
Facility | Mechanical | Inspection | Cold room unit functional inspection | Monthly |  |  |  |  | In-house
Facility | Mechanical | Inspection | Compressor oil changing in water chiller | Upon reaching 5000 running hours |  |  |  |  | In-house
Facility | Mechanical | Inspection | Cooling tower daily operating inspection | Daily |  |  |  |  | In-house
Facility | Mechanical | Inspection | Cooling tower inspections | Daily |  |  |  |  | In-house
Facility | Mechanical | Service | Cooling tower preventive maintenance | Tri-annually |  |  |  |  | In-house
Facility | Mechanical | Inspection | Diesel fire pump test run | Monthly |  |  |  |  | In-house
Facility | Mechanical | Service | Fire deisel engine service | Annually | 1 | 2026-10-15 | 2027-10-15 |  | Outsource
Facility | Mechanical | Service | Evacuation of oil separator’s connected workshop area | Quarterly | 2
Facility | Mechanical | Service | Evacuation of septic tanks connected manholes | Quarterly | 6 | 2026-10-07 | 2027-01-05 |  | Outsource
Facility | Mechanical | Service | FCU / VRV / packaged / split AC preventive service | Tri-annually
Facility | Mechanical | Inspection | FM-200 suppression cylinder and actuation inspection | Bi-annually |  |  |  |  | Outsource
Facility | Mechanical | Inspection | FM200 systems | Bi-annually |  |  |  |  | Outsource
Facility | Mechanical | Inspection | Fire alarm control panels operational condition inspection | Weekly |  |  |  |  | In-house
Facility | Mechanical | Service | Fire alarm detection and fire-fighting system service | Bi-annually |  |  |  |  | Outsource
Facility | Mechanical | Inspection | Fire facilities checking and servicing | Bi-annually |  |  |  |  | Outsource
Facility | Mechanical | Inspection | Fire facilities in yards | Annually |  |  |  |  | In-house
Facility | Mechanical | Inspection | Fire protection equipment (detectors, alarms, and associated devices) | Annually | 1020 |  |  |  | Outsource
Facility | Mechanical | Service | Fire protection equipment (detectors, alarms, and associated devices) | Annually | 1020 |  |  |  | Outsource
Facility | Mechanical | Inspection | Fire pump house / pump controls inspection | Daily |  |  |  |  | In-house
Facility | Mechanical | Service | General service and maintenance of fire hydrant | Annually |  |  |  |  | In-house
Facility | Mechanical | Inspection | MEP STP | Weekly | 2 |  |  |  | In-house
Facility | Mechanical | Inspection | Washing bay | Weekly | 1 |  |  |  | In-house
Facility | Mechanical | Service | Oil separator waste evacuation | Quarterly | 1 |  |  |  | Outsource
Facility | Mechanical | Inspection | Potable water storage tank level inspection | Daily | 2 |  |  |  | In-house
Facility | Mechanical | Inspection | Pressure meter testing | Annually |  |  |  |  | In-house
Facility | Mechanical | Inspection | Pump house inspection | Daily |  |  |  |  | In-house
Facility | Mechanical | Inspection | QC HVAC | Daily; Monthly | 98
Facility | Mechanical | Service | QC HVAC |  | 98
Facility | Mechanical | Inspection | RTG air conditioning | Daily; Monthly | 138
Facility | Mechanical | Service | RTG air conditioning |  | 138
Facility | Mechanical | Inspection | STP treated effluent laboratory testing | Quarterly | 3 |  |  |  | Outsource
Facility | Mechanical | Service | Service and maintenance of FCUs | Tri-annually
Facility | Mechanical | Service | Service and maintenance of VRV system | Tri-annually
Facility | Mechanical | Service | Service and maintenance of cold rooms | Tri-annually
Facility | Mechanical | Service | Service and maintenance of cooling towers | Tri-annually
Facility | Mechanical | Service | Service and maintenance of package system | Tri-annually
Facility | Mechanical | Service | Service and maintenance of split units in buildings | Tri-annually
Facility | Mechanical | Service | Service and maintenance of split units in cranes | Quarterly
Facility | Mechanical | Service | Service and maintenance of water chiller | Annually
Facility | Mechanical | Inspection | Water chiller and pumps periodic inspection | Bi-annually
Facility | Mechanical | Inspection | Water chiller daily operating parameters | Daily
Facility | Mechanical | Inspection | Water chiller inspections | Daily; Bi-annually
Facility | Mechanical | Inspection | Water level checking | Daily |  |  |  |  | In-house
Facility | Mechanical | Inspection | Portable water quality sampling and testing | Quarterly | 2 |  |  |  | Outsource
Facility | Civil | Inspection | Water storage tank wall condition inspection | Once in 2 years
Facility | Civil | Service | Water tank external painting | Once in 3 years
Facility | Civil | Service | External wall painting | Once in 3 years
Facility | Civil | Inspection | Inspection of vertical walls | Once in 2 years
Facility | Civil | Inspection | Bathymetric survey | Annually
Facility | Civil | Service | Bollard painting | Bi-annually
Facility | Civil | Inspection | Building stability inspection | Annually
Facility | Civil | Inspection | Ceiling structure & sheets inspections | Annually
Facility | Civil | Inspection | Bollards facilities | Quarterly | 60 | 2026-06-05 | 2026-12-05
Facility | Civil | Inspection | Caisson joint Inspection | Monthly | 3 | 2026-06-05 | 2026-07-05
Facility | Civil | Inspection | Fenders facilities | Quarterly | 85 | 2026-06-05 | 2026-12-05
Facility | Civil | Inspection | PowerPit Qc | Weekly | 19
Facility | Civil | Inspection | Container yard / RTG track pavement condition inspection | Annually
Facility | Civil | Inspection | Dredging works | No specific frequency
Facility | Civil | Inspection | External wall inspection | Annually
Facility | Civil | Inspection | Fixing bolts | Quarterly
Facility | Civil | Inspection | ILB inspection | Annually
Facility | Civil | Inspection | Internal wall inspection | Annually
Facility | Civil | Inspection | Manholes and draw pit cover | Annually
Facility | Civil | Inspection | Outdoor Fencing | Annually
Facility | Civil | Inspection | Outdoor steel ladders inspection | Annually
Facility | Civil | Service | PM line painting | Annually
Facility | Civil | Inspection | Plumbing inspections | Bi-annually
Facility | Civil | Inspection | QC Rail Beam inspection | Annually
Facility | Civil | Inspection | Quay crane storm and tie-down anchor pit inspection | Bi-annually
Facility | Civil | Inspection | Quay wall breast wall / concrete face visual inspection | Annually
Facility | Civil | Inspection | Quay wall settlement and horizontal displacement monitoring | Annually
Facility | Civil | Inspection | Quay wall structural underwater inspection | Once in 5 years
Facility | Civil | Inspection | RTG align marking | Annually
Facility | Civil | Inspection | RTG tracks inspection | Annually
Facility | Civil | Service | RTG tracks painting | Annually
Facility | Civil | Inspection | Road marking | Annually
Facility | Civil | Inspection | Road pavement and drainage condition inspection | Annually
Facility | Civil | Inspection | Roof inspections | Annually
Facility | Civil | Inspection | Settlement monitoring | Once in 2 years
Facility | Civil | Inspection | Stairs, landings and handrails inspection | Annually
Facility | Civil | Inspection | Visual inspection in tie down pits | Annually
Facility | Civil | Inspection | Visual inspection to grout layer | Bi-annually
Facility | Civil | Inspection | Water leakages in roof slabs inspection | Annually
Facility | Civil | Inspection | Windows and doors inspections | Annually
Facility | Civil | Service | Yard marking painting | Annually
Formulas:
Next Date = [Last Date]+31